**No. D-19015/3/2010-UIDAI**

Government of India

Planning Commission

Unique Identification Authority of India

2nd Floor, Tower-I, Jeevan Bharti Building

Connaught Circus, New Delhi-110001

Dated: 07 June, 2013

**Sub: Corrigendum/Addendum to Tender Enquiry FOR “SUPPLY, Installation, Testing and Commissioning of CCTV System for UIDAI”**

No. T-11011/8/2010-Admin dated 20th May, 2013 for “Supply, Installation, Testing and Commissioning of CCTV System for UIDAI” the following amendments are hereby made:-

**Corrigendum**

| **SI. No** | **Reference clause** | **For** | | **Read** | |
| --- | --- | --- | --- | --- | --- |
| 1. | Appendix ‘A’  (Technical Specification)  (Page 16 of RFP) | 24 channel Stand Alone DVR System Full D1 =01 No. | | Three DVRs of 8 Channels each  ( All other technical specifications will remain the same)  Each DVR should be installed at respective floors and all DVR should be configured and integrated at one centralized location. Bidder is required to consider all devices, accessories, Controls, PCBs, Cables etc which would be required for integration of all DVRs and that should be configured with common Monitor.  Each Cameras and DVRs will be inclusive of Power Supply.  Cameras and DVRs should be UL Listed /FCC certified Product. | |
| 2. | Appendix ‘A’  (Technical Specification)  (Page 16 of RFP) | Cabling | | The proposal should be inclusive of following :-  Power Cable – 2 Core Pure Copper Cable  Video Cable – RG-6 Pure Copper Cable  The Size of PVC Pipe -25MM | |
| 3 | Delivery Period  (Para 3 of Chapter-III of RFP)  (Page 13 of the RFP) | Delivery period for supply of items will be mentioned separately in each supply order which would normally be 07 days from the date of issue of supply order. | | Delivery period which includes supply, installation, testing and Commissioning of items will be mentioned in supply order which would normally be 20 days from the date of issue of supply order. | |
| 4 | Clause 1 & 3  Schedule of RFP | Last Date for Submission of Bids  (1500 hrs) | 10th June, 2013 | Last Date for Submission of Bids  (1500 hrs) | 17th June, 2013 |

**Addendum**

|  |  |
| --- | --- |
| 1. | Appendix ‘A’ (Technical Specification)  (Page 16 of RFP)  Following may be added as 1(f) in Appendix ‘A’ to the RFP :-  32” LED Monitor – 01 No. |

(Manoj Kumar)

Dy. Director (Admin)